{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"charts":6,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":1514,"n_cols":17,"rows_kept":1514,"cut":false,"hidden":false,"merged":[]}
["Date","Date",{"$nulls":10},"数据1","数据2","数据3","数据4","数据5"]
["2025-06-13 20:40:22:577","2025-06-13 20:41:29:828",{"$nulls":9},"项目名称",{"$f":"A6","v":"hsCRP"},"hsCRP",0,0,0]
["userId","userId",{"$nulls":9},"光学类型",{"$f":"A12","v":"FOPT"},"FOPT",0,0,0]
["250613_1201","250613_1201"]
["ProjName","ProjName"]
["hsCRP","hsCRP",{"$nulls":9},"T4位置",{"$f":"\"(\"&A24&\",\"&A26&\",\"&A25&\")\"","v":"(,,)"},"(,,)","(,,)","(,,)","(,,)"]
["ProjId","ProjId",{"$nulls":9},"T4面积",{"$f":"A27","v":0},0,0,0,0]
[1,1,{"$nulls":9},"R位置",{"$f":"\"(\"&A29&\",\"&A31&\",\"&A30&\")\"","v":"(,,)"},"(,,)","(,,)","(,,)","(,,)"]
["SubProjName","SubProjName",{"$nulls":9},"R面积",{"$f":"A32","v":0},0,0,0,0]
["hsCRP","hsCRP",{"$nulls":9},"H位置",{"$f":"\"(\"&A34&\",\"&A36&\",\"&A35&\")\"","v":"(26,43,52)"},"(30,40,48)","(,,)","(,,)","(,,)"]
["OptType","OptType",{"$nulls":9},"H面积",{"$f":"A37","v":1407.89},995.11,0,0,0]
["FOPT","FOPT",{"$nulls":9},"T位置",{"$f":"\"(\"&A39&\",\"&A41&\",\"&A40&\")\"","v":"(66,79,90)"},"(62,75,87)","(,,)","(,,)","(,,)"]
["lasterGain","lasterGain",{"$nulls":9},"T面积",{"$f":"A42","v":35219.370000000003},35311.26,0,0,0]
[190,190,{"$nulls":9},"C位置",{"$f":"\"(\"&A44&\",\"&A46&\",\"&A45&\")\"","v":"(115,123,131)"},"(112,120,128)","(,,)","(,,)","(,,)"]
["scanerGain","scanerGain",{"$nulls":9},"C面积",{"$f":"A47","v":2134.0300000000002},2068.88,0,0,0]
[8,8]
["Result(mg/L)","Result(ERROR)"]
[173.98140000000001,0,{"$nulls":9},"R(T/C)",{"$f":"A50","v":16.5},17.07,0,0,0]
[{"$nulls":11},"AR(H/C)",{"$f":"A52","v":0.66},0.48,0,0,0]
[{"$nulls":11},"ATR(T/H)",{"$f":"A54","v":25.02},{"$f":"$B$54","v":35.479999999999997},{"$f":"C54","v":0},{"$f":"$B$54","v":35.479999999999997},{"$f":"E54","v":0}]
[{"$nulls":11},"RFR(R/C)",{"$f":"$A$56","v":"nu"},"nu","nu","nu","nu"]
[{"$nulls":11},"T4R(T4/C)",{"$f":"$A$58","v":"nu"},"nu","nu","nu","nu"]
["T4","T4",{"$nulls":9},"T4T3R(R/T4)",{"$f":"$A$60","v":"nu"},"nu","nu","nu","nu"]
[{"$nulls":11},"Result",{"$f":"A18","v":173.98140000000001},{"$f":"B18","v":0},0,0,0]
[]
[]
[]
["R","R",{"$nulls":10},"AVG","STD","CV",null,"偏差"]
[{"$nulls":11},"R(T/C)",{"$f":"AVERAGE(M18:Q18)","v":6.7140000000000004},{"$f":"STDEV(M18:Q18)","v":9.1957316185282405},{"$f":"N29/M29","v":1.3696353319225856},0.99,{"$f":"M29/P29-1","v":5.7818181818181822}]
[{"$nulls":11},"AR(H/C)",{"$f":"AVERAGE(M19:Q19)","v":0.22800000000000004},{"$f":"STDEV(M19:Q19)","v":0.31862203313644211},1.3974650576159739,1.25,{"$f":"M30/P30-1","v":-0.81759999999999999}]
[{"$nulls":11},"ATR(T/H)",{"$f":"AVERAGE(M20:Q20)","v":19.195999999999998},{"$f":"STDEV(M20:Q20)","v":18.036276777650091},0.93958516241144474,0.79,23.298734177215188]
[{"$nulls":11},"RFR(R/C)",{"$f":"AVERAGE(M21:V21)","v":{"$error":"#DIV/0!"}},{"$f":"STDEV(M21:V21)","v":{"$error":"#DIV/0!"}},{"$error":"#DIV/0!"}]
["H","H",{"$nulls":9},"T4R(T4/C)",{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
[26,30,{"$nulls":9},"T4T3R(R/T4)",{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"}]
[52,48,{"$nulls":9},"Result",34.796280000000003,77.806847444116386,2.2360679774997898]
[43,40]
[1407.89,995.11]
["T","T"]
[66,62]
[90,87]
[79,75]
[35219.370000000003,35311.26]
["C","C"]
[115,112]
[131,128]
[123,120]
[2134.0300000000002,2068.88]
[]
["R(T/C)","R(T/C)"]
[16.5,17.07]
["AR(H/C)","AR(H/C)"]
[0.66,0.48]
["ATR(T/H)","ATR(T/H)"]
[25.02,35.479999999999997]
["RFR(R/C)","RFR(R/C)"]
["nu","nu"]
["T4R(T4/C)","T4R(T4/C)"]
["nu","nu"]
["T4T3R(R/T4)","T4T3R(R/T4)"]
["nu","nu"]
[]
["AfterAnalysPoint(250)","AfterAnalysPoint(250)"]
[142.83000000000001,142.16999999999999]
[163.01,162.21]
[163.21,162.41999999999999]
[163.21,162]
[162.58000000000001,162]
[162.94999999999999,162.05000000000001]
[162.22,162.16]
[162.41999999999999,161.83000000000001]
[162.62,161]
[162.63,161.63]
[162.83000000000001,161.26]
[162.63,161.78]
[163,162]
[163,162]
[162.5,162]
[162.21,161.54]
[162,161.22999999999999]
[162.37,161.18]
[162.05000000000001,161]
[161.79,161.29]
[162.21,161.79]
[162.03,162.63]
[162.76,163.38]
[162.59,164.95]
[163.5,166.21]
[164.26,168.38]
[165.41,171.72]
[166.96,176.83]
[168.88,184.46]
[171.79,193.42]
[175.68,200.73]
[182.13,209.54]
[190.88,217.88]
[200.02,227.48]
[207.71,238]
[216.27,250.78]
[226.2,265.3]
[236.77,281.02999999999997]
[248.6,297.64]
[262.67,312.5]
[278.83,321.44]
[295.08,305.63]
[311.95999999999998,257.47000000000003]
[323.92,227.16]
[318.54000000000002,207.67]
[275.32,195.4]
[239,186.63]
[217.38,180.13]
[202.31,175.63]
[191.29,172.29]
[184.11,170.08]
[178.77,169.01]
[175.25,168.42]
[173.33,168.74]
[171.79,169]
[171.8,169.92]
[171.78,171.2]
[171.38,172.54]
[172,174.54]
[172.79,177.29]
[173.79,182.55]
[175.88,190.62]
[178.92,203.38]
[184.03,225.91]
[190.79,267.95999999999998]
[201.8,341.7]
[221.24,483.83]
[255.35,743.73]
[320.52999999999997,1149.45]
[435.38,1631.54]
[660.29,2145.2399999999998]
[1000.05,2614.48]
[1442.32,2995.38]
[1926.68,3250.94]
[2413.88,3393.13]
[2846.58,3446.74]
[3157.67,3401.33]
[3351.83,3215.01]
[3447.72,2911.88]
[3454.92,2491.33]
[3348.92,2014.5]
[3088.03,1488.77]
[2720.55,1045.25]
[2245.17,746.73]
[1740.17,555.16999999999996]
[1242.02,429.89]
[871.32,347.07]
[642.62,294.95]
[489.77,261.58999999999997]
[388.88,241.46]
[319.8,228.87]
[276.72000000000003,221.48]
[248.76,217.07]
[233.51,214.5]
[224,212.79]
[217.75,211.08]
[214.33,209.17]
[211.83,208.79]
[210.25,208.67]
[208.79,208.21]
[208,208.21]
[208,208]
[207.78,208.17]
[207.26,208.79]
[207.5,209.08]
[208,210.71]
[207.82,213.46]
[208.13,216.55]
[208.72,220.58]
[210.79,224.71]
[214.05,228.84]
[217.87,233.08]
[221.92,238.1]
[226.28,245.98]
[230.79,257.38]
[235.82,276.7]
[242.29,310.19]
[252.6,366.07]
[269.25,461]
[299,611.04]
[354.17,667.68]
[441.99,513.86]
[598.46,406.73]
[698.26,346.02]
[550.63,302.04000000000002]
[430.58,271.05]
[360.27,248.4]
[312.27999999999997,233.24]
[278.62,222.73]
[254.08,216.17]
[236.34,212.28]
[224.26,210.23]
[217.1,209.04]
[213.38,208]
[211.29,207.92]
[209.92,207]
[209.18,207.02]
[208.6,207.19]
[208.33,206.87]
[207.88,206]
[207.95,205.78]
[207.22,205.78]
[207.27,205.65]
[207.15,205.54]
[206.71,205.58]
[206.25,205.33]
[206.79,205.02]
[206.58,205.18]
[206.58,205.21]
[206.58,205.21]
[206.33,205.47]
[206.65,205.58]
[206.92,205.17]
[207.47,205.79]
[207.63,204.88]
[207.67,204.79]
[207.55,204.35]
[207.23,204.03]
[206.58,204]
[207.42,204]
[207.2,204]
[207.61,203.79]
[207.23,204]
[206.8,203.67]
[207,203.42]
[207.41,203.62]
[207.42,203.42]
[206.83,202.99]
[206.21,202.26]
[206.08,202.21]
[205.92,202.41]
[205.99,201.98]
[205.79,201.44]
[206.21,201.21]
[205.92,201]
[205.88,201.2]
[205.79,201.03]
[205.37,200.61]
[205.38,200.95]
[205.08,200.29]
[205.41,200.46]
[205.19,200.79]
[205.18,200.63]
[205.05,200]
[205,200.63]
[204.54,200.41]
[204.42,200.01]
[204.99,200]
[204.47,199.88]
[204,199.21]
[203.8,199.67]
[203.58,199.98]
[203,199.82]
[203,199.38]
[203,199.79]
[202.95,199.58]
[202.45,199.79]
[202.98,200]
[202.79,200.21]
[202.71,200.71]
[202.21,201.26]
[202.21,201.78]
[202.03,202.38]
[200.05,203.33]
[199,204]
[197.68,203.9]
[202.72,201.81]
[210.07,198.67]
[217.32,196.25]
[224.21,194.71]
[230.17,191.53]
[233.8,182.91]
[233.48,157.87]
[229.26,115.89]
[213.42,82.13]
[168.54,67.540000000000006]
[108.42,63.75]
[72.53,60.83]
[62.63,58.58]
[59.58,56.21]
[57.88,54.28]
[55.96,52.36]
[54.41,50.65]
[52.72,49.67]
[51.5,48.5]
[50.33,48]
[49.58,47.61]
[48.63,46.76]
[48,46.05]
[47.92,46]
[46.95,45.13]
[46.01,44.97]
[45.63,44.03]
[45,44]
[44.58,43.29]
[44.13,42.75]
[43.79,42]
[43.2,42]
[42.38,41.25]
[42.08,41]
[41.75,40.130000000000003]
[41,40]
[40.83,40]
[40,39.25]
[40,38.79]
[39.75,38.33]
[39,38]
[38.630000000000003,38]
[38.200000000000003,37.46]
[38.200000000000003,37.46]
[]
["RawData(1200)","RawData(1200)"]
[0,0]
[163,162]
[163,163]
[163,163]
[164,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,163]
[163,163]
[163,162]
[163,163]
[164,162]
[163,162]
[163,162]
[163,162]
[164,162]
[163,162]
[163,162]
[162,162]
[162,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[162,163]
[162,162]
[162,162]
[162,162]
[163,162]
[163,162]
[162,162]
[162,162]
[163,162]
[162,161]
[163,161]
[163,161]
[163,161]
[162,161]
[162,161]
[163,162]
[162,162]
[163,162]
[163,161]
[162,161]
[163,162]
[163,161]
[163,161]
[163,161]
[162,162]
[162,162]
[163,161]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[163,162]
[162,162]
[162,162]
[163,162]
[163,162]
[162,162]
[162,162]
[163,161]
[162,162]
[162,161]
[162,161]
[162,161]
[162,161]
[162,162]
[162,161]
[162,162]
[163,161]
[162,161]
[162,161]
[163,161]
[162,161]
[162,161]
[162,161]
[162,161]
[162,161]
[162,161]
[162,161]
[161,161]
[162,162]
[162,162]
[162,161]
[162,162]
[163,162]
[162,162]
[162,162]
[162,162]
[162,163]
[162,163]
[162,163]
[163,163]
[163,163]
[162,164]
[163,163]
[163,164]
[162,165]
[162,164]
[163,165]
[163,166]
[163,165]
[164,166]
[163,166]
[164,166]
[163,167]
[164,167]
[164,168]
[164,168]
[165,168]
[164,170]
[165,170]
[165,171]
[165,172]
[166,172]
[166,173]
[166,175]
[166,176]
[167,176]
[168,178]
[168,180]
[168,180]
[168,183]
[169,186]
[170,187]
[170,189]
[171,192]
[171,192]
[172,194]
[173,196]
[174,197]
[174,198]
[175,201]
[177,202]
[177,203]
[179,206]
[181,208]
[181,209]
[183,211]
[186,213]
[187,214]
[189,216]
[192,219]
[193,220]
[194,221]
[197,224]
[200,227]
[200,227]
[202,230]
[204,233]
[205,234]
[206,236]
[209,240]
[211,242]
[211,243]
[214,247]
[216,251]
[217,252]
[220,256]
[222,259]
[224,261]
[226,265]
[228,269]
[230,271]
[232,274]
[235,279]
[237,281]
[239,284]
[242,289]
[245,292]
[246,295]
[249,298]
[252,303]
[255,305]
[257,308]
[263,313]
[264,313]
[266,316]
[272,320]
[276,321]
[276,321]
[280,323]
[286,322]
[286,320]
[290,318]
[296,307]
[300,296]
[301,292]
[306,275]
[310,261]
[311,258]
[315,248]
[320,240]
[320,236]
[322,231]
[326,224]
[326,221]
[328,217]
[326,211]
[323,209]
[321,207]
[309,203]
[297,200]
[293,199]
[277,196]
[263,193]
[260,192]
[253,190]
[243,188]
[238,187]
[236,185]
[228,184]
[224,182]
[221,181]
[217,180]
[213,179]
[210,178]
[208,177]
[204,176]
[201,176]
[199,174]
[195,174]
[194,173]
[193,172]
[190,172]
[188,172]
[188,171]
[186,170]
[184,170]
[183,170]
[182,170]
[180,169]
[180,169]
[179,169]
[178,169]
[177,169]
[177,169]
[176,168]
[175,169]
[174,168]
[174,168]
[174,169]
[174,169]
[173,168]
[173,169]
[172,169]
[172,169]
[172,169]
[172,169]
[171,169]
[172,169]
[172,170]
[172,170]
[172,170]
[171,170]
[172,171]
[172,171]
[172,171]
[172,171]
[171,172]
[171,172]
[171,172]
[171,172]
[172,173]
[172,174]
[172,174]
[172,174]
[172,175]
[172,175]
[172,175]
[172,176]
[173,177]
[173,178]
[173,178]
[174,180]
[173,180]
[174,182]
[174,184]
[174,185]
[174,186]
[176,189]
[176,190]
[176,192]
[177,195]
[177,197]
[178,199]
[179,204]
[180,209]
[181,209]
[182,215]
[184,224]
[184,227]
[185,231]
[187,243]
[188,255]
[189,256]
[192,270]
[194,290]
[195,295]
[197,311]
[202,341]
[204,353]
[206,374]
[212,413]
[215,436]
[219,466]
[226,522]
[232,565]
[237,603]
[247,686]
[257,756]
[263,802]
[277,904]
[294,1010]
[304,1056]
[320,1157]
[348,1300]
[363,1363]
[382,1449]
[424,1611]
[455,1714]
[472,1755]
[529,1893]
[597,2050]
[612,2082]
[683,2188]
[793,2354]
[828,2423]
[884,2489]
[1015,2629]
[1098,2727]
[1127,2756]
[1254,2863]
[1394,2968]
[1418,2983]
[1516,3055]
[1692,3151]
[1761,3173]
[1810,3211]
[1979,3284]
[2091,3311]
[2119,3327]
[2268,3372]
[2404,3392]
[2440,3393]
[2551,3422]
[2690,3443]
[2729,3436]
[2806,3452]
[2928,3458]
[2981,3445]
[3020,3439]
[3120,3432]
[3170,3399]
[3186,3390]
[3260,3362]
[3313,3295]
[3317,3265]
[3352,3236]
[3390,3152]
[3403,3097]
[3422,3057]
[3443,2957]
[3448,2883]
[3473,2827]
[3472,2720]
[3466,2624]
[3467,2574]
[3461,2445]
[3432,2317]
[3422,2276]
[3404,2166]
[3355,1997]
[3324,1939]
[3298,1869]
[3219,1699]
[3158,1586]
[3122,1547]
[3034,1398]
[2934,1254]
[2902,1213]
[2824,1130]
[2677,1000]
[2615,943]
[2553,912]
[2413,829]
[2296,760]
[2247,738]
[2119,693]
[1976,631]
[1910,603]
[1816,579]
[1662,533]
[1576,503]
[1496,486]
[1351,457]
[1252,429]
[1192,415]
[1075,397]
[988,374]
[946,363]
[876,348]
[802,333]
[770,323]
[724,313]
[665,300]
[637,294]
[607,287]
[559,276]
[531,270]
[516,267]
[478,259]
[449,253]
[440,252]
[417,247]
[388,241]
[380,240]
[368,237]
[344,233]
[332,231]
[328,230]
[312,228]
[298,225]
[294,224]
[285,223]
[274,221]
[270,220]
[265,220]
[256,219]
[253,217]
[249,217]
[243,216]
[240,216]
[239,216]
[234,215]
[232,214]
[231,213]
[228,214]
[226,213]
[225,213]
[224,213]
[221,212]
[220,212]
[219,212]
[218,211]
[217,210]
[216,211]
[216,210]
[215,209]
[215,209]
[213,209]
[213,209]
[213,209]
[212,209]
[212,209]
[211,208]
[211,209]
[211,209]
[210,209]
[210,208]
[210,209]
[210,208]
[209,208]
[209,209]
[209,208]
[208,208]
[208,208]
[208,209]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[208,208]
[207,208]
[208,209]
[207,209]
[208,208]
[207,209]
[207,209]
[207,209]
[208,209]
[207,209]
[208,208]
[207,210]
[208,210]
[208,210]
[208,210]
[208,211]
[208,212]
[208,212]
[208,212]
[208,214]
[208,214]
[207,215]
[208,215]
[208,216]
[208,216]
[208,218]
[209,218]
[208,219]
[208,220]
[209,221]
[209,222]
[210,222]
[210,224]
[211,224]
[211,225]
[211,226]
[212,227]
[213,227]
[214,229]
[215,230]
[215,230]
[216,231]
[217,233]
[218,232]
[218,234]
[220,235]
[220,235]
[221,237]
[222,238]
[223,240]
[224,241]
[225,243]
[226,245]
[226,246]
[227,248]
[229,251]
[230,252]
[230,256]
[231,259]
[232,262]
[233,265]
[234,270]
[236,276]
[237,279]
[237,285]
[240,294]
[240,299]
[241,306]
[244,320]
[246,328]
[247,337]
[250,353]
[253,370]
[256,378]
[258,399]
[263,424]
[264,437]
[269,458]
[277,500]
[280,525]
[285,546]
[296,602]
[304,642]
[309,657]
[323,690]
[338,699]
[345,692]
[360,671]
[384,613]
[394,585]
[411,554]
[444,503]
[463,478]
[483,466]
[531,436]
[565,417]
[586,410]
[644,389]
[690,371]
[699,369]
[721,352]
[703,337]
[692,333]
[665,326]
[592,310]
[555,304]
[545,302]
[499,291]
[465,281]
[459,280]
[439,274]
[410,265]
[402,262]
[391,258]
[370,251]
[360,248]
[351,246]
[336,241]
[328,239]
[321,236]
[309,232]
[302,230]
[298,228]
[288,226]
[281,223]
[278,222]
[272,221]
[264,219]
[262,217]
[257,217]
[250,216]
[247,214]
[245,215]
[240,213]
[235,212]
[235,211]
[232,212]
[228,210]
[226,210]
[225,211]
[222,210]
[221,210]
[220,210]
[217,209]
[217,209]
[216,209]
[215,208]
[214,208]
[214,208]
[213,208]
[213,208]
[212,208]
[212,208]
[211,208]
[211,208]
[211,208]
[211,207]
[210,207]
[210,207]
[210,207]
[209,207]
[210,207]
[210,207]
[209,207]
[209,207]
[208,207]
[209,208]
[209,207]
[208,207]
[209,207]
[208,207]
[208,208]
[209,207]
[208,207]
[208,206]
[209,206]
[208,206]
[207,206]
[208,206]
[208,206]
[208,206]
[208,205]
[208,206]
[208,205]
[208,207]
[207,206]
[207,205]
[207,206]
[207,206]
[208,206]
[208,205]
[207,206]
[208,206]
[207,206]
[206,205]
[208,205]
[207,205]
[207,206]
[207,206]
[207,206]
[207,205]
[207,206]
[207,206]
[206,205]
[206,206]
[206,206]
[206,205]
[206,205]
[207,205]
[207,205]
[207,205]
[207,205]
[207,205]
[206,205]
[206,206]
[207,205]
[207,205]
[206,205]
[207,205]
[207,205]
[206,205]
[206,206]
[207,205]
[207,205]
[206,206]
[207,205]
[207,205]
[206,205]
[207,205]
[206,205]
[206,206]
[207,206]
[206,205]
[206,206]
[207,206]
[207,205]
[207,206]
[206,205]
[207,205]
[206,205]
[207,205]
[207,205]
[208,206]
[207,206]
[208,206]
[207,206]
[208,205]
[207,206]
[207,205]
[208,205]
[208,205]
[208,204]
[207,205]
[208,204]
[208,205]
[208,205]
[207,205]
[208,205]
[208,204]
[207,204]
[207,204]
[208,205]
[207,204]
[207,204]
[208,204]
[207,204]
[207,204]
[207,204]
[206,204]
[206,204]
[207,204]
[207,204]
[207,204]
[207,204]
[208,204]
[208,204]
[207,204]
[207,204]
[207,204]
[207,204]
[208,204]
[207,204]
[207,204]
[208,204]
[208,203]
[208,204]
[207,204]
[207,204]
[207,204]
[208,204]
[207,204]
[206,204]
[207,204]
[207,203]
[207,204]
[207,203]
[207,203]
[208,204]
[207,204]
[206,203]
[207,203]
[207,203]
[207,204]
[208,204]
[208,204]
[207,203]
[208,204]
[207,203]
[207,204]
[208,203]
[208,203]
[207,203]
[207,203]
[206,203]
[206,203]
[206,202]
[207,202]
[206,202]
[206,203]
[206,202]
[206,203]
[206,202]
[206,202]
[206,202]
[207,202]
[206,202]
[206,203]
[206,202]
[205,203]
[206,202]
[206,202]
[206,202]
[206,202]
[206,202]
[206,201]
[206,202]
[205,202]
[206,201]
[206,201]
[206,201]
[206,202]
[206,201]
[207,201]
[206,201]
[206,201]
[206,201]
[206,201]
[206,201]
[205,201]
[206,201]
[206,201]
[206,201]
[206,202]
[206,201]
[206,202]
[206,201]
[206,201]
[205,200]
[205,201]
[205,200]
[206,201]
[205,201]
[206,200]
[205,201]
[206,201]
[205,201]
[205,201]
[206,201]
[205,200]
[205,201]
[205,200]
[205,200]
[205,200]
[206,200]
[205,200]
[205,201]
[206,201]
[205,201]
[205,201]
[205,201]
[205,200]
[206,201]
[205,201]
[205,201]
[205,200]
[205,201]
[206,200]
[205,200]
[205,200]
[205,200]
[205,200]
[205,200]
[205,200]
[205,201]
[205,201]
[205,201]
[205,200]
[205,201]
[204,200]
[205,200]
[204,201]
[204,200]
[204,200]
[205,200]
[204,200]
[205,200]
[205,200]
[205,200]
[205,200]
[205,200]
[205,200]
[204,200]
[204,200]
[205,200]
[205,200]
[204,199]
[204,199]
[204,199]
[204,199]
[204,200]
[204,199]
[204,200]
[204,199]
[204,200]
[203,200]
[204,200]
[203,200]
[204,200]
[204,200]
[203,200]
[203,199]
[203,200]
[203,200]
[203,200]
[203,200]
[203,200]
[203,199]
[203,199]
[203,199]
[203,200]
[203,200]
[203,200]
[203,200]
[203,199]
[203,200]
[203,200]
[203,199]
[203,199]
[203,200]
[202,200]
[203,200]
[203,199]
[202,200]
[202,200]
[203,200]
[203,200]
[203,200]
[203,200]
[203,200]
[203,200]
[203,200]
[203,200]
[202,201]
[203,200]
[203,200]
[203,201]
[202,201]
[203,201]
[202,201]
[202,201]
[202,202]
[203,201]
[202,201]
[202,202]
[203,202]
[202,202]
[201,201]
[203,202]
[203,202]
[202,202]
[202,202]
[202,203]
[201,203]
[200,203]
[200,203]
[200,203]
[200,204]
[200,204]
[200,204]
[199,204]
[199,205]
[198,203]
[198,204]
[197,204]
[198,204]
[197,204]
[198,204]
[200,202]
[202,202]
[202,202]
[203,202]
[206,201]
[207,201]
[208,200]
[210,198]
[213,197]
[213,197]
[214,197]
[217,196]
[218,196]
[219,196]
[221,196]
[222,195]
[224,195]
[225,195]
[226,194]
[227,193]
[229,193]
[230,192]
[231,192]
[232,189]
[233,188]
[233,187]
[234,184]
[234,180]
[235,177]
[234,173]
[234,164]
[234,156]
[233,152]
[232,141]
[231,129]
[231,124]
[229,114]
[228,103]
[225,96]
[222,90]
[217,83]
[211,78]
[206,76]
[196,72]
[183,69]
[176,68]
[162,66]
[144,65]
[134,65]
[122,64]
[105,64]
[97,64]
[90,62]
[80,62]
[75,61]
[72,61]
[68,60]
[65,60]
[64,60]
[64,59]
[62,58]
[61,58]
[61,57]
[60,57]
[60,56]
[59,56]
[59,56]
[59,55]
[59,55]
[58,54]
[57,54]
[57,54]
[57,53]
[56,53]
[56,52]
[56,52]
[55,52]
[55,51]
[55,51]
[54,51]
[54,50]
[54,50]
[53,50]
[53,50]
[53,50]
[52,49]
[52,49]
[52,49]
[52,49]
[51,48]
[51,48]
[51,48]
[51,48]
[50,48]
[50,48]
[50,48]
[50,48]
[50,48]
[50,47]
[49,48]
[49,47]
[49,48]
[48,47]
[49,46]
[49,46]
[48,47]
[48,46]
[48,46]
[48,46]
[48,46]
[48,46]
[48,46]
[48,46]
[48,46]
[48,46]
[47,46]
[47,45]
[47,45]
[47,45]
[47,45]
[46,45]
[46,45]
[46,45]
[46,45]
[46,45]
[46,44]
[46,44]
[46,44]
[45,44]
[45,44]
[45,44]
[45,44]
[45,44]
[45,44]
[45,44]
[45,44]
[45,43]
[44,43]
[44,43]
[45,43]
[44,43]
[44,43]
[44,43]
[44,42]
[44,42]
[44,42]
[44,42]
[44,42]
[43,42]
[43,42]
[44,42]
[43,42]
[43,42]
[43,42]
[42,42]
[42,41]
[43,41]
[42,41]
[43,41]
[42,41]
[42,41]
[42,41]
[42,41]
[42,41]
[42,40]
[42,40]
[42,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[41,40]
[40,40]
[40,40]
[40,39]
[40,39]
[40,39]
[40,39]
[40,39]
[40,39]
[40,38]
[40,39]
[40,39]
[40,39]
[40,38]
[40,38]
[39,38]
[39,38]
[39,38]
[39,38]
[39,38]
[39,38]
[39,38]
[39,38]
[39,38]
[38,38]
[38,38]
[39,38]
[38,38]
[38,37]
[38,37]
[38,37]
[38,38]
[38,37]
[38,37]
[38,37]

{"sheet":"Sheet2","index":1,"n_rows":250,"n_cols":4,"rows_kept":250,"cut":false,"hidden":false,"merged":[]}
[142.16999999999999,0,0,0]
[162.21,{"$f":"A2-A1","v":20.04000000000002},0,0]
[162.41999999999999,{"$f":"A3-A2","v":0.20999999999997954},{"$f":"B3-B2","v":-19.830000000000041},0]
[162,-0.41999999999998749,-0.62999999999996703,{"$f":"C4-C3","v":19.200000000000074}]
[162,0,0.41999999999998749,1.0499999999999545]
[162.05000000000001,5.0000000000011369E-2,5.0000000000011369E-2,-0.36999999999997613]
[162.16,0.10999999999998522,5.9999999999973852E-2,9.9999999999624833E-3]
[161.83000000000001,-0.32999999999998408,-0.4399999999999693,-0.49999999999994316]
[161,-0.83000000000001251,-0.50000000000002842,-6.0000000000059117E-2]
[161.63,0.62999999999999545,1.460000000000008,1.9600000000000364]
[161.26,-0.37000000000000455,-1,-2.460000000000008]
[161.78,0.52000000000001023,0.89000000000001478,1.8900000000000148]
[162,0.21999999999999886,-0.30000000000001137,-1.1900000000000261]
[162,0,-0.21999999999999886,8.0000000000012506E-2]
[162,0,0,0.21999999999999886]
[161.54,-0.46000000000000796,-0.46000000000000796,-0.46000000000000796]
[161.22999999999999,-0.31000000000000227,0.15000000000000568,0.61000000000001364]
[161.18,-4.9999999999982947E-2,0.26000000000001933,0.11000000000001364]
[161,-0.18000000000000682,-0.13000000000002387,-0.3900000000000432]
[161.29,0.28999999999999204,0.46999999999999886,0.60000000000002274]
[161.79,0.5,0.21000000000000796,-0.25999999999999091]
[162.63,0.84000000000000341,0.34000000000000341,0.12999999999999545]
[163.38,0.75,-9.0000000000003411E-2,-0.43000000000000682]
[164.95,1.5699999999999932,0.81999999999999318,0.90999999999999659]
[166.21,1.2600000000000193,-0.30999999999997385,-1.129999999999967]
[168.38,2.1699999999999875,0.90999999999996817,1.219999999999942]
[171.72,3.3400000000000034,1.1700000000000159,0.26000000000004775]
[176.83,5.1100000000000136,1.7700000000000102,0.59999999999999432]
[184.46,7.6299999999999955,2.5199999999999818,0.74999999999997158]
[193.42,8.9599999999999795,1.3299999999999841,-1.1899999999999977]
[200.73,7.3100000000000023,-1.6499999999999773,-2.9799999999999613]
[209.54,8.8100000000000023,1.5,3.1499999999999773]
[217.88,8.3400000000000034,-0.46999999999999886,-1.9699999999999989]
[227.48,9.5999999999999943,1.2599999999999909,1.7299999999999898]
[238,10.52000000000001,0.92000000000001592,-0.33999999999997499]
[250.78,12.780000000000001,2.2599999999999909,1.339999999999975]
[265.3,14.52000000000001,1.7400000000000091,-0.51999999999998181]
[281.02999999999997,15.729999999999961,1.2099999999999511,-0.53000000000005798]
[297.64,16.610000000000014,0.8800000000000523,-0.32999999999989882]
[312.5,14.860000000000014,-1.75,-2.6300000000000523]
[321.44,8.9399999999999977,-5.9200000000000159,-4.1700000000000159]
[305.63,-15.810000000000002,-24.75,-18.829999999999984]
[257.47000000000003,-48.159999999999968,-32.349999999999966,-7.5999999999999659]
[227.16,-30.310000000000031,17.849999999999937,50.199999999999903]
[207.67,-19.490000000000009,10.820000000000022,-7.0299999999999159]
[195.4,-12.269999999999982,7.2200000000000273,-3.5999999999999943]
[186.63,-8.7700000000000102,3.4999999999999716,-3.7200000000000557]
[180.13,-6.5,2.2700000000000102,-1.2299999999999613]
[175.63,-4.5,2,-0.27000000000001023]
[172.29,-3.3400000000000034,1.1599999999999966,-0.84000000000000341]
[170.08,-2.2099999999999795,1.1300000000000239,-2.9999999999972715E-2]
[169.01,-1.0700000000000216,1.1399999999999579,9.9999999999340616E-3]
[168.42,-0.59000000000000341,0.48000000000001819,-0.65999999999993975]
[168.74,0.3200000000000216,0.91000000000002501,0.43000000000000682]
[169,0.25999999999999091,-6.0000000000030695E-2,-0.97000000000005571]
[169.92,0.91999999999998749,0.65999999999999659,0.72000000000002728]
[171.2,1.2800000000000011,0.36000000000001364,-0.29999999999998295]
[172.54,1.3400000000000034,6.0000000000002274E-2,-0.30000000000001137]
[174.54,2,0.65999999999999659,0.59999999999999432]
[177.29,2.75,0.75,9.0000000000003411E-2]
[182.55,5.2600000000000193,2.5100000000000193,1.7600000000000193]
[190.62,8.0699999999999932,2.8099999999999739,0.29999999999995453]
[203.38,12.759999999999991,4.6899999999999977,1.8800000000000239]
[225.91,22.53,9.7700000000000102,5.0800000000000125]
[267.95999999999998,42.049999999999983,19.519999999999982,9.7499999999999716]
[341.7,73.740000000000009,31.690000000000026,12.170000000000044]
[483.83,{"$f":"A67-A66","v":142.13},68.389999999999986,36.69999999999996]
[743.73,259.90000000000003,117.77000000000004,49.380000000000052]
[1149.45,405.72,145.82,28.049999999999955]
[1631.54,482.08999999999992,76.369999999999891,-69.450000000000102]
[2145.2399999999998,513.69999999999982,31.6099999999999,-44.759999999999991]
[2614.48,469.24000000000024,-44.459999999999582,-76.069999999999482]
[2995.38,380.90000000000009,-88.340000000000146,-43.880000000000564]
[3250.94,255.55999999999995,-125.34000000000015,-37]
[3393.13,142.19000000000005,-113.36999999999989,11.970000000000255]
[3446.74,53.609999999999673,-88.580000000000382,24.789999999999509]
[3401.33,-45.409999999999854,-99.019999999999527,-10.439999999999145]
[3215.01,-186.31999999999971,-140.90999999999985,-41.890000000000327]
[2911.88,-303.13000000000011,-116.8100000000004,24.099999999999454]
[2491.33,-420.55000000000018,-117.42000000000007,-0.60999999999967258]
[2014.5,-476.82999999999993,-56.279999999999745,61.140000000000327]
[1488.77,-525.73,-48.900000000000091,7.3799999999996544]
[1045.25,-443.52,82.210000000000036,131.11000000000013]
[746.73,-298.52,145,62.789999999999964]
[555.16999999999996,-191.56000000000006,106.95999999999992,-38.040000000000077]
[429.89,-125.27999999999997,66.280000000000086,-40.679999999999836]
[347.07,-82.82,42.45999999999998,-23.820000000000107]
[294.95,-52.120000000000005,30.699999999999989,-11.759999999999991]
[261.58999999999997,-33.360000000000014,18.759999999999991,-11.939999999999998]
[241.46,-20.129999999999967,13.230000000000047,-5.5299999999999443]
[228.87,-12.590000000000003,7.5399999999999636,-5.690000000000083]
[221.48,-7.3900000000000148,5.1999999999999886,-2.339999999999975]
[217.07,-4.4099999999999966,2.9800000000000182,-2.2199999999999704]
[214.5,-2.5699999999999932,1.8400000000000034,-1.1400000000000148]
[212.79,-1.710000000000008,0.85999999999998522,-0.98000000000001819]
[211.08,-1.7099999999999795,2.8421709430404007E-14,-0.8599999999999568]
[209.17,-1.910000000000025,-0.20000000000004547,-0.2000000000000739]
[208.79,-0.37999999999999545,1.5300000000000296,1.730000000000075]
[208.67,-0.12000000000000455,0.25999999999999091,-1.2700000000000387]
[208.21,-0.45999999999997954,-0.33999999999997499,-0.59999999999996589]
[208.21,0,0.45999999999997954,0.79999999999995453]
[208,-0.21000000000000796,-0.21000000000000796,-0.66999999999998749]
[208.17,0.16999999999998749,0.37999999999999545,0.59000000000000341]
[208.79,0.62000000000000455,0.45000000000001705,7.00000000000216E-2]
[209.08,0.29000000000002046,-0.32999999999998408,-0.78000000000000114]
[210.71,1.6299999999999955,1.339999999999975,1.6699999999999591]
[213.46,2.75,1.1200000000000045,-0.21999999999997044]
[216.55,3.0900000000000034,0.34000000000000341,-0.78000000000000114]
[220.58,4.0300000000000011,0.93999999999999773,0.59999999999999432]
[224.71,4.1299999999999955,9.9999999999994316E-2,-0.84000000000000341]
[228.84,4.1299999999999955,0,-9.9999999999994316E-2]
[233.08,4.2400000000000091,0.11000000000001364,0.11000000000001364]
[238.1,5.0199999999999818,0.77999999999997272,0.66999999999995907]
[245.98,7.8799999999999955,2.8600000000000136,2.0800000000000409]
[257.38,11.400000000000006,3.5200000000000102,0.65999999999999659]
[276.7,19.319999999999993,7.9199999999999875,4.3999999999999773]
[310.19,33.490000000000009,14.170000000000016,6.2500000000000284]
[366.07,55.879999999999995,22.389999999999986,8.2199999999999704]
[461,94.93,39.050000000000011,16.660000000000025]
[611.04,150.03999999999996,55.109999999999957,16.059999999999945]
[667.68,56.639999999999986,-93.399999999999977,-148.50999999999993]
[513.86,-153.81999999999994,-210.45999999999992,-117.05999999999995]
[406.73,-107.13,46.689999999999941,257.14999999999986]
[346.02,-60.710000000000036,46.419999999999959,-0.26999999999998181]
[302.04000000000002,-43.979999999999961,16.730000000000075,-29.689999999999884]
[271.05,-30.990000000000009,12.989999999999952,-3.7400000000001228]
[248.4,-22.650000000000006,8.3400000000000034,-4.6499999999999488]
[233.24,-15.159999999999997,7.4900000000000091,-0.84999999999999432]
[222.73,-10.510000000000019,4.6499999999999773,-2.8400000000000318]
[216.17,-6.5600000000000023,3.9500000000000171,-0.69999999999996021]
[212.28,{"$f":"A131-A130","v":-3.8899999999999864},2.6700000000000159,-1.2800000000000011]
[210.23,-2.0500000000000114,1.839999999999975,-0.83000000000004093]
[209.04,-1.1899999999999977,0.86000000000001364,-0.97999999999996135]
[208,-1.039999999999992,0.15000000000000568,-0.71000000000000796]
[207.92,-8.0000000000012506E-2,0.95999999999997954,0.80999999999997385]
[207,-0.91999999999998749,-0.83999999999997499,-1.7999999999999545]
[207.02,2.0000000000010232E-2,0.93999999999999773,1.7799999999999727]
[207.19,0.16999999999998749,0.14999999999997726,-0.79000000000002046]
[206.87,-0.31999999999999318,-0.48999999999998067,-0.63999999999995794]
[206,-0.87000000000000455,-0.55000000000001137,-6.0000000000030695E-2]
[205.78,-0.21999999999999886,0.65000000000000568,1.2000000000000171]
[205.78,0,0.21999999999999886,-0.43000000000000682]
[205.65,-0.12999999999999545,-0.12999999999999545,-0.34999999999999432]
[205.54,-0.11000000000001364,1.999999999998181E-2,0.14999999999997726]
[205.58,4.0000000000020464E-2,0.15000000000003411,0.1300000000000523]
[205.33,-0.25,-0.29000000000002046,-0.44000000000005457]
[205.02,-0.31000000000000227,-6.0000000000002274E-2,0.23000000000001819]
[205.18,0.15999999999999659,0.46999999999999886,0.53000000000000114]
[205.21,3.0000000000001137E-2,-0.12999999999999545,-0.59999999999999432]
[205.21,0,-3.0000000000001137E-2,9.9999999999994316E-2]
[205.47,0.25999999999999091,0.25999999999999091,0.28999999999999204]
[205.58,0.11000000000001364,-0.14999999999997726,-0.40999999999996817]
[205.17,-0.41000000000002501,-0.52000000000003865,-0.37000000000006139]
[205.79,0.62000000000000455,1.0300000000000296,1.5500000000000682]
[204.88,-0.90999999999999659,-1.5300000000000011,-2.5600000000000307]
[204.79,-9.0000000000003411E-2,0.81999999999999318,2.3499999999999943]
[204.35,-0.43999999999999773,-0.34999999999999432,-1.1699999999999875]
[204.03,-0.31999999999999318,0.12000000000000455,0.46999999999999886]
[204,-3.0000000000001137E-2,0.28999999999999204,0.16999999999998749]
[204,0,3.0000000000001137E-2,-0.25999999999999091]
[204,0,0,-3.0000000000001137E-2]
[203.79,-0.21000000000000796,-0.21000000000000796,-0.21000000000000796]
[204,0.21000000000000796,0.42000000000001592,0.63000000000002387]
[203.67,-0.33000000000001251,-0.54000000000002046,-0.96000000000003638]
[203.42,-0.25,8.0000000000012506E-2,0.62000000000003297]
[203.62,0.20000000000001705,0.45000000000001705,0.37000000000000455]
[203.42,-0.20000000000001705,-0.40000000000003411,-0.85000000000005116]
[202.99,-0.4299999999999784,-0.22999999999996135,0.17000000000007276]
[202.26,-0.73000000000001819,-0.30000000000003979,-7.0000000000078444E-2]
[202.21,-4.9999999999982947E-2,0.68000000000003524,0.98000000000007503]
[202.41,0.19999999999998863,0.24999999999997158,-0.43000000000006366]
[201.98,-0.43000000000000682,-0.62999999999999545,-0.87999999999996703]
[201.44,-0.53999999999999204,-0.10999999999998522,0.52000000000001023]
[201.21,-0.22999999999998977,0.31000000000000227,0.41999999999998749]
[201,-0.21000000000000796,1.999999999998181E-2,-0.29000000000002046]
[201.2,0.19999999999998863,0.40999999999999659,0.39000000000001478]
[201.03,-0.16999999999998749,-0.36999999999997613,-0.77999999999997272]
[200.61,-0.41999999999998749,-0.25,0.11999999999997613]
[200.95,0.33999999999997499,0.75999999999996248,1.0099999999999625]
[200.29,-0.65999999999999659,-0.99999999999997158,-1.7599999999999341]
[200.46,0.17000000000001592,0.83000000000001251,1.8299999999999841]
[200.79,0.32999999999998408,0.15999999999996817,-0.67000000000004434]
[200.63,-0.15999999999999659,-0.48999999999998067,-0.64999999999994884]
[200,-0.62999999999999545,-0.46999999999999886,1.999999999998181E-2]
[200.63,0.62999999999999545,1.2599999999999909,1.7299999999999898]
[200.41,-0.21999999999999886,-0.84999999999999432,-2.1099999999999852]
[200.01,-0.40000000000000568,-0.18000000000000682,0.66999999999998749]
[200,-9.9999999999909051E-3,0.39000000000001478,0.5700000000000216]
[199.88,-0.12000000000000455,-0.11000000000001364,-0.50000000000002842]
[199.21,-0.66999999999998749,-0.54999999999998295,-0.4399999999999693]
[199.67,0.45999999999997954,1.129999999999967,1.67999999999995]
[199.98,0.31000000000000227,-0.14999999999997726,-1.2799999999999443]
[199.82,-0.15999999999999659,-0.46999999999999886,-0.3200000000000216]
[199.38,-0.43999999999999773,-0.28000000000000114,0.18999999999999773]
[199.79,{"$f":"A195-A194","v":0.40999999999999659},0.84999999999999432,1.1299999999999955]
[199.58,-0.20999999999997954,-0.61999999999997613,-1.4699999999999704]
[199.79,0.20999999999997954,0.41999999999995907,1.0399999999999352]
[200,0.21000000000000796,2.8421709430404007E-14,-0.41999999999993065]
[200.21,0.21000000000000796,0,-2.8421709430404007E-14]
[200.71,0.5,0.28999999999999204,0.28999999999999204]
[201.26,0.54999999999998295,4.9999999999982947E-2,-0.24000000000000909]
[201.78,0.52000000000001023,-2.9999999999972715E-2,-7.9999999999955662E-2]
[202.38,0.59999999999999432,7.9999999999984084E-2,0.1099999999999568]
[203.33,0.95000000000001705,0.35000000000002274,0.27000000000003865]
[204,0.66999999999998749,-0.28000000000002956,-0.6300000000000523]
[203.9,-9.9999999999994316E-2,-0.76999999999998181,-0.48999999999995225]
[201.81,-2.0900000000000034,-1.9900000000000091,-1.2200000000000273]
[198.67,-3.1400000000000148,-1.0500000000000114,0.93999999999999773]
[196.25,-2.4199999999999875,0.72000000000002728,1.7700000000000387]
[194.71,-1.539999999999992,0.87999999999999545,0.15999999999996817]
[191.53,-3.1800000000000068,-1.6400000000000148,-2.5200000000000102]
[182.91,-8.6200000000000045,-5.4399999999999977,-3.7999999999999829]
[157.87,-25.039999999999992,-16.419999999999987,-10.97999999999999]
[115.89,-41.980000000000004,-16.940000000000012,-0.52000000000002444]
[82.13,-33.760000000000005,8.2199999999999989,25.160000000000011]
[67.540000000000006,-14.589999999999989,19.170000000000016,10.950000000000017]
[63.75,-3.7900000000000063,10.799999999999983,-8.370000000000033]
[60.83,-2.9200000000000017,0.87000000000000455,-9.9299999999999784]
[58.58,-2.25,0.67000000000000171,-0.20000000000000284]
[56.21,-2.3699999999999974,-0.11999999999999744,-0.78999999999999915]
[54.28,-1.9299999999999997,0.43999999999999773,0.55999999999999517]
[52.36,-1.9200000000000017,9.9999999999980105E-3,-0.42999999999999972]
[50.65,-1.7100000000000009,0.21000000000000085,0.20000000000000284]
[49.67,-0.97999999999999687,0.73000000000000398,0.52000000000000313]
[48.5,-1.1700000000000017,-0.19000000000000483,-0.92000000000000881]
[48,-0.5,0.67000000000000171,0.86000000000000654]
[47.61,-0.39000000000000057,0.10999999999999943,-0.56000000000000227]
[46.76,-0.85000000000000142,-0.46000000000000085,-0.57000000000000028]
[46.05,-0.71000000000000085,0.14000000000000057,0.60000000000000142]
[46,-4.9999999999997158E-2,0.66000000000000369,0.52000000000000313]
[45.13,-0.86999999999999744,-0.82000000000000028,-1.480000000000004]
[44.97,-0.16000000000000369,0.70999999999999375,1.529999999999994]
[44.03,-0.93999999999999773,-0.77999999999999403,-1.4899999999999878]
[44,-3.0000000000001137E-2,0.90999999999999659,1.6899999999999906]
[43.29,-0.71000000000000085,-0.67999999999999972,-1.5899999999999963]
[42.75,-0.53999999999999915,0.17000000000000171,0.85000000000000142]
[42,-0.75,-0.21000000000000085,-0.38000000000000256]
[42,0,0.75,0.96000000000000085]
[41.25,-0.75,-0.75,-1.5]
[41,-0.25,0.5,1.25]
[40.130000000000003,-0.86999999999999744,-0.61999999999999744,-1.1199999999999974]
[40,-0.13000000000000256,0.73999999999999488,1.3599999999999923]
[40,0,0.13000000000000256,-0.60999999999999233]
[39.25,-0.75,-0.75,-0.88000000000000256]
[38.79,-0.46000000000000085,0.28999999999999915,1.0399999999999991]
[38.33,-0.46000000000000085,0,-0.28999999999999915]
[38,-0.32999999999999829,0.13000000000000256,0.13000000000000256]
[38,0,0.32999999999999829,0.19999999999999574]
[37.46,-0.53999999999999915,-0.53999999999999915,-0.86999999999999744]
[37.46,0,0.53999999999999915,1.0799999999999983]